{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["存量项目导出简表_1","Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"存量项目导出简表_1","index":0,"n_rows":13,"n_cols":21,"rows_kept":13,"merged":[[0,0,1,20]],"flags":["formulas_cached_only"]}
["存量项目导出简表"]
[]
["序号","电站编号","电站名称","电站类型","电站容量(千瓦)","发电户号","总投资(万元)","政府出资(万元)","银行贷款(万元)","企业资金(万元)","捐赠资金(万元)","自筹资金(万元)","户数","开工时间","并网时间","总发电量(万千瓦时)","结算电费(万元)","领取补贴(万元)","是否纳入国家计划","文件依据","备注"]
[1,"4900000266963216","茶花村村级电站","村级电站","120","1356305971","89","89","0","0","0","0","18","20171008","20180115","9.05","0","0","是","发改能源【2016】621号",""]
[2,"4900000266984300","桥市村村级电站","村级电站","53","1356305900","38","38","0","0","0","0","9","20171120","20180115","2.7","0","0","是","发改能源【2016】621号",""]
[3,"4900000266987055","碧云村村级电站","村级电站","53","1356305997","39","39","0","0","0","0","8","20171125","20180115","2.68","0","0","是","发改能源【2016】621号",""]
[4,"4900000266993811","众兴村村级电站","村级电站","31","1354352991","33","33","0","0","0","0","5","20161225","20170320","3.94","1","0","是","发改能源【2016】621号",""]
[5,"4900000266998200","泥湾村村级电站","村级电站","28","1354631995","30","30","0","0","0","0","5","20161128","20170210","3.23","0.9","0","是","发改能源【2016】621号",""]
[6,"4900000267215618","将军村村级电站","村级电站","55","1356434730","41","41","0","0","0","0","8","20180110","20180225","3.23","0","0","是","发改能源【2016】621号",""]
[7,"4900000267224142","铜梁村村级电站","村级电站","34","1354631966","43","43","0","0","0","0","6","20161105","20170109","3.69","0.9","0","是","发改能源【2016】621号",""]
[8,"4900000267228007","安乐村村级电站","村级电站","55","1356415959","41","41","0","0","0","0","8","20180105","20180225","1.78","0","0","是","发改能源【2016】621号",""]
[9,"4900000267406928","双花村村级电站1","村级电站","34","1354280416","29","29","0","0","0","0","5","20161120","20171215","4.03","1","0","是","发改能源【2016】621号",""]
[10,"4900000267409637","双花村村级电站2","村级电站","60","1356290826","36","36","0","0","0","0","9","20171008","20180115","4.24","0","0","是","发改能源【2016】621号",""]

{"sheet":"Sheet1","index":1,"n_rows":13,"n_cols":8,"rows_kept":13,"merged":[[0,0,1,7]],"flags":["formulas_cached_only"]}
["湘潭县村级光伏扶贫电站信息表"]
[]
["序号","发电户号","电站名称","电站类型","地址","装机容量（千瓦）","并网容量（千瓦）","备注"]
[1,"1356****71","茶花村村级电站","村级电站","湖南省湘潭县茶恩寺镇茶花村","120","120"]
[2,"1356****00","桥市村村级电站","村级电站","湖南省湘潭县茶恩寺镇桥市村","53","53"]
[3,"1356****97","碧云村村级电站","村级电站","湖南省湘潭县中路铺镇碧云村","53","53"]
[4,"1354****91","众兴村村级电站","村级电站","湖南省湘潭县乌石镇众兴村","31","31"]
[5,"1354****95","泥湾村村级电站","村级电站","湖南省湘潭县花石镇泥湾村","28","28"]
[6,"1356****30","将军村村级电站","村级电站","湖南省湘潭县石鼓镇将军村","55","55"]
[7,"1354****66","铜梁村村级电站","村级电站","湖南省湘潭县石鼓镇铜梁村","34","34"]
[8,"1356****59","安乐村村级电站","村级电站","湖南省湘潭县石鼓镇安乐村","55","55"]
[9,"1354****16","双花村村级电站1","村级电站","湖南省湘潭县茶恩寺镇双花村","34","34"]
[10,"1356****26","双花村村级电站2","村级电站","湖南省湘潭县茶恩寺镇双花村","60","60"]